## GALMA Series Nano Positioning Electric Slide Table_Specification
Product Name | Product code | Price including tax | Travel | Positioning Accuracy | Bi-Directional Repeatability Typical | Resolution Guaranteed | Min. incremental Motion | Straightness | Flatness | Pitch | Roll | Yaw | Maximum Speed | Load Capacity | Maximum Acceleration | Moving Mass | Stage Mass | Material | Traceability for Calibration | Mean Time Before Failure (MTBF) | Price
GALMA-125-U-100 | GALMA-125-U-100 | 0.00 | 100mm | ±0.2μm | ±0.1μm | 1nm | 5nm | ±1μm | ±1μm | 6arcsec | 6arcsec | 6arcsec | 300mm/s | 10kg | 1g | 1.8kg | 3.5kg | Aluminum，7075 | GB_T 17421.2-2016, 5 reciprocations, ≥ 5Plot/L | 23000Hours | Please Consult
GALMA-180-U-210 | GALMA-180-U-210 | 0.00 | 210mm | ±0.3μm | ±0.15μm | 1nm | 5nm | ±1.5μm | ±1.5μm | 8arc sec | 8arc sec | 8arc sec | 300mm/s | 24kg | 1g | 7.6kg | 13kg | Aluminum，7075 | GB_T 17421.2-2016, 5 reciprocations, ≥ 5Plot/L | 23000Hours | Please Consult