## GALSA Series Nano Positioning Electric Slide Table_Specification
Product Name | Product code | Price including tax | Travel | Positioning Accuracy | Bi-Directional Repeatability Typical | Resolution Guaranteed | Min. incremental Motion | Straightness | Flatness | Pitch | Roll | Yaw | Maximum Speed | Maximum Speed | Moving Mass | Stage Mass | Material | Traceability for Calibration | Mean Time Before Failure (MTBF) | Unit Price
GALSA-125-P | GALSA-125-P | 0.00 | 50mm / 100mm | ±1μm / ±1μm | ±0.4μm / ±0.4μm | 50nm | 100nm | ±1.25μm / ±1.5μm | ±1.25μm / ±1.5μm | 3.9arc sec / 6arc sec | 3.9arc sec / 6arc sec | 3.9arcsec / 6arc sec | 50mm/s | 10kg / 5kg | 0.7kg / 0.9kg | 2.3kg / 3.1kg | Aluminum，7075 | GB_T 17421.2-2016, 5 reciprocations, ≥ 5Plot/L | 23000Hours | Please Consult